## Sheet1
List of issues:
No. | SLD | Issue | Open/closed
1 | Options Menu | Menu bar on left: "Siulation" should be simulation | Closed
2 | All | All SLDs. Make heading of each SLD a larger font | Closed
3 | All | Power Available, as well as all values. Use only 2 decimal places for values. | Open
4 | All | Is it possible to increase all font sizes | Open
5 | All | Change "Desktop Studies Communication Tool" to "Distributed Restart - Desktop Exercise Simulation" | Open
6 | Options Menu | Change "kv" to "kV" for all options | Open
7 | Options Menu | Change "chapelcrossgretna1" to "Chapelcross - Gretna 1" | Open
8 | Options Menu | Change "chapelcrossgretna2" to "Chapelcross - Gretna 2" | Open
9 | Options Menu | Change "ewehillgretna" to "Ewe Hill 2 WF - Gretna" | Open
10 | Options Menu | Change "Stevencroft33kV" to "Steven's Croft" | Open
11 | Options Menu | Change "Minsca33kV" to "Minsca WF" | Open
12 | Options Menu | Change "Ewehillwindfarm1" to "Ewe Hill 1 WF" | Open
13 | Options Menu | Change "Ewehillwindfarm2" to "Ewe Hill 2 WF" | Open
14 | Chapelcross33kV SLD | Solway references should be 378 instead of 678. | Open
15 | Chapelcross33kV SLD
16 | EweHillWindFarm1 | Add Ewe Hill 1 WF Heading, add Ewe Hill 1 label to busbar
17 | EweHillWindFarm1 | Busbar and circuit breakers should be 781, not 761 (Minsca is 761)
18 | EweHillWindFarm1 | Need to add a "button" /slider where the user can select the MW output be produced in discrete. This is just a dummy control, but important for the simulation
19 | StevensCroft 33kV | Replace middle generator with a motor. Use descriptions for generators as on original SLD, e.g. bottom one should be "emergency generator"
20 | StevensCroft 33kV | Need to add a "button" to "start" Stevenscroft generator. Select this button should turn the generator green
21 | Minsca33kV | Added SLD heading on page. Add Minsca WF label to busbar
22 | Minsca33kV | Need to add a "button" /slider where the user can select the MW output be produced in discrete. This is just a dummy control, but important for the simulation
23 | EweHillWindFarm2 | Add Ewe Hill 2 WF Heading, add Ewe Hill 2 label to busbar
24 | EweHillWindFarm3 | Need to add a "button" /slider where the user can select the MW output be produced in discrete. This is just a dummy control, but important for the simulation
25 |  | Power Available
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40